## GMCB Table 1
BRATTLEBORO MEMORIAL HOSPITAL
Modernization Project
TABLE 1
PROJECT COSTS |  |  |  | #1 demolition of existing 2 story building | #2 Construction of new 4 story building | #3 Renovation of existing spaces | #4 Purchase of 3 new boilers
Construction Costs
1. | New Construction |  | 12044188 | 86307.2875 | 10220302.04 |  | 1737576.0944 | -2.5781
2. | Renovation |  | 1905688 |  |  | 1905687.42 |  | -0.58
3. | Site Work |  | 572552 | 0 | 572552.5 | 0 |  | 0.5
4. | Fixed Equipment |  | 506165 | 0 | 506165 |  |  | 0
5. | Design/Bidding Contingency |  | 726119 | 4315.36 | 539642.76 | 95284.39 | 86878.81 | 2.32
6. | Construction Contingency |  | 1524855 | 9062.26 | 1133249.76 | 200097.21 | 182445.49 | -0.28
7. | Construction Manager Fee |  | 461269 | 2741.34 | 342808.06 | 60529.37 | 55189.76 | -0.47
8. | Other (please specify) |  | 0 | 0 | 0 | 0 | 0 | 0
|  | Subtotal | 17740836 | 102426.2475 | 13314720.12 | 2261598.39 | 2062090.1544 | -1.0881

## Summary
BRATTLEBORO MEMORIA HOSPITAL
Docket No. GMCB-001-16con
|  |  |  | 4% |  | 5% | 10% | 2.75%
|  |  | HP Cummings Estimate | Inflation | Estimated Costs with Inflation | HP Cummings Contingency | Owners Contingency | HP Cummings CM Fee | Owners cost | Total
#1 demolition of existing 2 story building
| Division 1 | General Conditions | 4937.7775 | 197.51 | 5135.2875 | 256.76 | 539.2 | 163.11 |  | 6094.3575
| Division 2 | Demolition | 78050 | 3122 | 81172 | 4058.6 | 8523.06 | 2578.23 |  | 96331.89
| Division 3 | Concrete | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 4 | Masonry | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 5 | Steel | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 6 | Woods & Plastics | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 7 | Thermal & Moisture Protection | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 8 | Doors & Windows | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 9 | Finishes | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 10 | Specialties | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 20 | Conveying Systems | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 21 | Fire Suppression | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 22 | Plumbing | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 23 | HVAC | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 26 | Electrical | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 31 | Sitework | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | Fixed Equipment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 82987.7775 | 3319.51 | 86307.2875 | 4315.36 | 9062.26 | 2741.34 | 0 | 102426.2475
#2 Construction of new 4 story building
| Division 1 | General Conditions | 621216 | 24848.64 | 646064.64 | 32303.23 | 67836.79 | 20520.63 |  | 766725.29
| Division 2 | Demolition | 149131.25 | 5965.25 | 155096.5 | 7754.83 | 16285.13 | 4926.25 |  | 184062.71
| Division 3 | Concrete | 432062.5 | 17282.5 | 449345 | 22467.25 | 47181.23 | 14272.32 |  | 533265.8
| Division 4 | Masonry | 418961.25 | 16758.45 | 435719.7 | 21785.99 | 45750.57 | 13839.55 |  | 517095.81
| Division 5 | Steel | 675968.75 | 27038.75 | 703007.5 | 35150.38 | 73815.79 | 22329.28 |  | 834302.95
| Division 6 | Woods & Plastics | 181187.5 | 7247.5 | 188435 | 9421.75 | 19785.68 | 5985.17 |  | 223627.6
| Division 7 | Thermal & Moisture Protection | 731440 | 29257.6 | 760697.6 | 38034.88 | 79873.25 | 24161.66 |  | 902767.39
| Division 8 | Doors & Windows | 502865 | 20114.6 | 522979.6 | 26148.98 | 54912.86 | 16611.14 |  | 620652.58
| Division 9 | Finishes | 1153746.25 | 46149.85 | 1199896.1 | 59994.81 | 125989.09 | 38111.7 |  | 1423991.7
| Division 10 | Specialties | 97562.5 | 3902.5 | 101465 | 5073.25 | 10653.83 | 3222.78 |  | 120414.86
| Division 20 | Conveying Systems | 432062.5 | 17282.5 | 449345 | 22467.25 | 47181.23 | 14272.32 |  | 533265.8
| Division 21 | Fire Suppression | 181187.5 | 7247.5 | 188435 | 9421.75 | 19785.68 | 5985.17 |  | 223627.6
| Division 22 | Plumbing | 971443.75 | 38857.75 | 1010301.5 | 50515.08 | 106081.66 | 32089.7 |  | 1198987.94
| Division 23 | HVAC | 2094527.5 | 83781.1 | 2178308.6 | 108915.43 | 228722.4 | 69188.53 |  | 2585134.96
| Division 26 | Electrical | 1183851.25 | 47354.05 | 1231205.3 | 61560.27 | 129276.56 | 39106.16 |  | 1461148.29
| Division 31 | Sitework | 550531.25 | 22021.25 | 572552.5 | 28627.63 | 60118.01 | 18185.7 |  | 679483.84
|  | Fixed Equipment | xxxx | 0 | 0 | 0 | 0 | 0 | 506165 | 506165
|  |  | 10377744.75 | 415109.79 | 10792854.54 | 539642.76 | 1133249.76 | 342808.06 | 506165 | 13314720.12
#3 Renovation of existing spaces
| Division 1 | General Conditions | 192677.15 | 7707.09 | 200384.24 | 10019.21 | 21040.35 | 6364.7 |  | 237808.5
| Division 2 | Demolition | 102927.35 | 4117.09 | 107044.44 | 5352.22 | 11239.67 | 3400 |  | 127036.33
| Division 3 | Concrete | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 4 | Masonry | 7123 | 284.92 | 7407.92 | 370.4 | 777.83 | 235.29 |  | 8791.44
| Division 5 | Steel | 7123 | 284.92 | 7407.92 | 370.4 | 777.83 | 235.29 |  | 8791.44
| Division 6 | Woods & Plastics | 97941.25 | 3917.65 | 101858.9 | 5092.95 | 10695.19 | 3235.29 |  | 120882.33
| Division 7 | Thermal & Moisture Protection | 25998.95 | 1039.96 | 27038.91 | 1351.95 | 2839.09 | 858.82 |  | 32088.77
| Division 8 | Doors & Windows | 75859.95 | 3034.4 | 78894.35 | 3944.72 | 8283.91 | 2505.88 |  | 93628.86
| Division 9 | Finishes | 337274.05 | 13490.96 | 350765.01 | 17538.25 | 36830.33 | 11141.17 |  | 416274.76
| Division 10 | Specialties | 55203.25 | 2208.13 | 57411.38 | 2870.57 | 6028.2 | 1823.53 |  | 68133.68
| Division 20 | Conveying Systems | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 21 | Fire Suppression | 39176.5 | 1567.06 | 40743.56 | 2037.18 | 4278.07 | 1294.12 |  | 48352.93
| Division 22 | Plumbing | 156706 | 6268.24 | 162974.24 | 8148.71 | 17112.3 | 5176.47 |  | 193411.72
| Division 23 | HVAC | 488637.8 | 19545.51 | 508183.31 | 25409.17 | 53359.25 | 16141.17 |  | 603092.9
| Division 26 | Electrical | 245743.5 | 9829.74 | 255573.24 | 12778.66 | 26835.19 | 8117.64 |  | 303304.73
| Division 31 | Sitework | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 1832391.75 | 73295.67 | 1905687.42 | 95284.39 | 200097.21 | 60529.37 | 0 | 2261598.39
#4 Purchase of 3 new boilers
| Division 1 | General Conditions | 99989.9944 | 3999.6 | 103989.5944 | 5199.48 | 10918.91 | 3302.97 |  | 123410.9544
| Division 2 | Demolition |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 3 | Concrete |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 4 | Masonry |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 5 | Steel |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 6 | Woods & Plastics |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 7 | Thermal & Moisture Protection |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 8 | Doors & Windows |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 9 | Finishes |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 10 | Specialties |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 20 | Conveying Systems |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 21 | Fire Suppression |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 22 | Plumbing |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 23 | HVAC | 1570756.25 | 62830.25 | 1633586.5 | 81679.33 | 171526.58 | 51886.79 |  | 1938679.2
| Division 26 | Electrical |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 31 | Sitework |  | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 1670746.2444 | 66829.85 | 1737576.0944 | 86878.81 | 182445.49 | 55189.76 | 0 | 2062090.1544
#5 Boiler Plant Renovation
| Division 1 | General Conditions |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 2 | Demolition |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 3 | Concrete |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 4 | Masonry |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 5 | Steel |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 6 | Woods & Plastics |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 7 | Thermal & Moisture Protection |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 8 | Doors & Windows |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 9 | Finishes |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 10 | Specialties |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 20 | Conveying Systems |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 21 | Fire Suppression |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 22 | Plumbing |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 23 | HVAC |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 26 | Electrical |  | 0 | 0 | 0 | 0 | 0 |  | 0
| Division 31 | Sitework |  | 0 | 0 | 0 | 0 | 0 |  | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 13963870.5219 | 558554.82 | 14522425.3419 | 726121.32 | 1524854.72 | 461268.53 | 506165 | 17740834.9119
% of total for each breakdown
0.7276% | #1 Demo existing building |  |  |  |  | 726119 | 1524855 | 461269 | 506165 | 17740836
90.99% | #2 New construction |  |  |  |  | -2.32 | 0.28 | 0.47 | 0 | 1.0881
#3 Renovations
14.65% | #4 Boiler replacement
| 11405335 | New const less GCs

## HPC Div est
|  | Brattleboro Memorial Hospital | [6 empty] | Contractor |  | H. P. Cummings Construction Company
|  | Modernization Project | [6 empty] | Architect |  | Lavallee Brensinger
CON Budget Cost Construction total project
[6 empty] | New Construction |  |  |  | Renovations
|  | NO OWNER COST IN THIS BUDGET | [7 empty] | Tie in at ground level |  |  | 400 | sf
[6 empty] | Ground Floor addition |  | 8352 | sf | PACU Renovations |  |  | 2180 | sf
[6 empty] | First Floor addition |  | 7219 | sf | ENDO Renovations |  |  | 1838 | sf
[6 empty] | Second Floor addition |  | 6152 | sf | Storage/Anesthsia |  |  | 1878 | sf
[6 empty] | Third Floor addition |  | 6152 | sf | Corridor, meds, H/K, Toilet |  |  | 827 | sf |  |  | Revision 0
[6 empty] | Total Gross New Area |  | 27875 | sf | Total Gross Renovated Area |  |  | 7123 | sf |  | REVISED | 2016-04-08
Based on LBA Modernization Project CON Submission January 2016
|  | Assume 14 months for Addition |  |  |  |  | NEW CONSTRUCTION |  |  |  |  | RENOVATIONS |  |  |  | TOTAL PROJECT
|  | Assume 6 months for renovations |  |  |  | SF Cost | Total Section Cost | Total Division Cost | Total Division SF Cost |  | SF Cost | Total Section Cost | Total Division Cost | Total Division SF Cost | Total Section Cost | Total Division Cost | Total Division SF Cost | % of Total Cost
Assume 2017 construction start add 4% to cost/yr after 2017
DIV 1 | GENERAL CONDITIONS | [10 empty] | 0
|  | CM General conditions |  |  |  | 21 | 585375 |  |  |  | 22 | 156706 |  |  | 742081
|  | Bond |  |  |  | 3.05 | 85018.75 |  |  |  | 3.05 | 21725.15 |  |  | 106743.9
|  | Temporary provisions |  |  |  | 2 | 55750 | 726143.75 | 26.05 |  | 2 | 14246 | 192677.15 | 27.05 | 69996 | 918820.9 | 26.2535 | 6.099%
DIV 2A | Demolition
|  | Interior demolition |  |  |  | 2 | 55750 |  |  |  | 8 | 56984 |  |  | 112734
|  | Demo existing Pavillion North 6,216 sf @ $13/sf |  |  |  | 2.8 | 78050 |  |  |  | 0 | 0 |  |  | 78050
|  | Demo existing Pavillion South 3800 sf @ $13/sf |  |  |  | 1.75 | 48781.25 |  |  |  | 0 | 0 |  |  | 48781.25
|  | Dumpsters |  |  |  | 0.35 | 9756.25 |  |  |  | 0.45 | 3205.35 |  |  | 12961.6
|  | Temporary partitions and setups |  |  |  | 0.5 | 13937.5 |  |  |  | 3 | 21369 |  |  | 35306.5
|  | Phasing |  |  |  | 0.25 | 6968.75 |  |  |  | 2 | 14246 |  |  | 21214.75
|  | Structural reconfigure |  |  |  | 0.25 | 6968.75 |  |  |  | 0 | 0 |  |  | 6968.75
|  | MEP cut and patch |  |  |  | 0.25 | 6968.75 | 227181.25 | 8.15 |  | 1 | 7123 | 102927.35 | 14.45 | 14091.75 | 330108.6 | 9.4322 | 2.191%
DIV 3 | CONCRETE
|  | Foundations |  |  |  | 6 | 167250 |  |  |  | 0 | 0 |  |  | 167250
|  | Slabs |  |  |  | 7.5 | 209062.5 |  |  |  | 0 | 0 |  |  | 209062.5
|  | Under pinning |  |  |  | 1 | 27875 |  |  |  | 0 | 0 |  |  | 27875
|  | Site concrete |  |  |  | 1 | 27875 | 432062.5 | 15.5 |  | 0 | 0 | 0 | 0 | 27875 | 432062.5 | 12.3453 | 2.868%
DIV 4 | MASONRY
|  | Interior blockwork |  |  |  | 0.5 | 13937.5 |  |  |  | 1 | 7123 |  |  | 21060.5
|  | Brick veneer at building exterior 13,500 sf @ $30 |  |  |  | 14.53 | 405023.75 | 418961.25 | 15.03 |  | 0 | 0 | 7123 | 1 | 405023.75 | 426084.25 | 12.1745 | 2.828%
DIV 5 | STEEL | [5 empty] | 0
|  | Structural steel |  |  |  | 16 | 446000 |  |  |  | 0 | 0 |  |  | 446000
|  | Screen at roof 1,071 sf @ $55/sf |  |  |  | 2 | 55750 |  |  |  | 0 | 0 |  |  | 55750
|  | Air handler structure |  |  |  | 2 | 55750 |  |  |  | 0 | 0 |  |  | 55750
|  | Boom supports |  |  |  | 1.25 | 34843.75 |  |  |  | 0 | 0 |  |  | 34843.75
|  | Misc metals |  |  |  | 3 | 83625 | 675968.75 | 24.25 |  | 1 | 7123 | 7123 | 1 | 90748 | 683091.75 | 19.518 | 4.534%
DIV 6 | WOODS & PLASTICS
|  | Rough Carpentry |  |  |  | 2.5 | 69687.5 |  |  |  | 1.75 | 12465.25 |  |  | 82152.75
|  | Finish carpentry & millwork |  |  |  | 4 | 111500 | 181187.5 | 6.5 |  | 12 | 85476 | 97941.25 | 13.75 | 196976 | 279128.75 | 7.9756 | 1.853%
DIV 7 | THERMAL & MOISTURE PROTECTION
|  | Waterproof foundations |  |  |  | 0.5 | 13937.5 |  |  |  | 0 | 0 |  |  | 13937.5
|  | Vapor barrier at building exterior wall in siding |  |  |  | 1.25 | 34843.75 |  |  |  | 0 | 0 |  |  | 34843.75
|  | Vapor barrier under slab |  |  |  | 0.5 | 13937.5 |  |  |  | 0 | 0 |  |  | 13937.5
|  | Foundation insulation |  |  |  | 0.9 | 25087.5 |  |  |  | 0 | 0 |  |  | 25087.5
|  | Insulated exterior metal wall panels 6,930 sf @ $45 |  |  |  | 11.19 | 311921.25 |  |  |  | 0 | 0 |  |  | 311921.25
|  | Expansion joints |  |  |  | 1.5 | 41812.5 |  |  |  | 0 | 0 |  |  | 41812.5
|  | Fire proofing |  |  |  | 4 | 111500 |  |  |  | 1 | 7123 |  |  | 118623
|  | Membrane roof with insulation 8,378sf @ $18 |  |  |  | 5.4 | 150525 |  |  |  | 0.65 | 4629.95 |  |  | 155154.95
|  | Fire sealing |  |  |  | 0.5 | 13937.5 |  |  |  | 1.5 | 10684.5 |  |  | 24622
|  | Joint sealants |  |  |  | 0.5 | 13937.5 | 731440 | 26.24 |  | 0.5 | 3561.5 | 25998.95 | 3.65 | 17499 | 757438.95 | 21.6423 | 5.028%
DIV 8 | DOORS & WINDOWS
|  | Doors, frames and hardware 113 leafs @ $1,300 ea |  |  |  | 5.27 | 146901.25 |  |  |  | 5.25 | 37395.75 |  |  | 184297
|  | Aluminum entrances AUTOMATIC 12 leafs @ $3000 ea |  |  |  | 1.29 | 35958.75 |  |  |  | 5 | 35615 |  |  | 71573.75
|  | Aluminum windows exterior 870 sf @ $55 |  |  |  | 1.72 | 47945 |  |  |  | 0 | 0 |  |  | 47945
|  | Aluminum windows exterior 1 hr 720 sf @ $225 |  |  |  | 5.81 | 161953.75 |  |  |  | 0 | 0 |  |  | 161953.75
|  | Aluminum windows/store front exterior 720 sf @ $75 |  |  |  | 3.55 | 98956.25 |  |  |  | 0 | 0 |  |  | 98956.25
|  | Glass and glazing |  |  |  | 0.4 | 11150 | 502865 | 18.04 |  | 0.4 | 2849.2 | 75859.95 | 10.65 | 13999.2 | 578724.95 | 16.5359 | 3.841%
DIV 9 | FINISHES
|  | Drywall and metal studs |  |  |  | 19.5 | 543562.5 |  |  |  | 25 | 178075 |  |  | 721637.5
|  | Acoustical ceilings standard 20,837sf @ $6.00/sf |  |  |  | 4.49 | 125158.75 |  |  |  | 5.5 | 39176.5 |  |  | 164335.25
|  | Acoustical ceilings sterile 7,038 sf @ $8.50/sf |  |  |  | 2.15 | 59931.25 |  |  |  | 0 | 0 |  |  | 59931.25
|  | Flooring, ave sf value over all floors |  |  |  | 8.75 | 243906.25 |  |  |  | 9.5 | 67668.5 |  |  | 311574.75
|  | Moisture mitigation barrier one |  |  |  | 1 | 27875 |  |  |  | 3 | 21369 |  |  | 49244
|  | Wall Coverings |  |  |  | 2 | 55750 |  |  |  | 1 | 7123 |  |  | 62873
|  | Paint Interior |  |  |  | 3 | 83625 |  |  |  | 3.35 | 23862.05 |  |  | 107487.05
|  | Paint exterior |  |  |  | 0.5 | 13937.5 | 1153746.25 | 41.39 |  | 0 | 0 | 337274.05 | 47.35 | 13937.5 | 1491020.3 | 42.603 | 9.897%
DIV 10 | SPECIALTIES
|  | Wall and corner protection |  |  |  | 2 | 55750 |  |  |  | 5 | 35615 |  |  | 91365
|  | Misc specialties |  |  |  | 1 | 27875 |  |  |  | 2 | 14246 |  |  | 42121
|  | Toilet accessories |  |  |  | 0.5 | 13937.5 | 97562.5 | 3.5 |  | 0.75 | 5342.25 | 55203.25 | 7.75 | 19279.75 | 152765.75 | 4.365 | 1.014%
DIV 11 | EQUIPMENT |  |  |  |  | None |  |  |  |  | None
DIV 12 | FURNISHINGS |  |  |  |  | None |  |  |  |  | None
DIV 13 | SPECIAL CONSTRUCTION |  |  |  |  | None |  |  |  |  | None
DIV 14 | CONVEYING SYSTEMS |  |  |  |  | None |  |  |  |  | None
|  | 4 Stop elevator |  | @ $34,844/stop |  | 5 | 139375 |  |  |  | 0 | 0 |  |  | 139375
|  | 4 Stop elevator |  | @ $34,844/stop |  | 5 | 139375 |  |  |  | 0 | 0 |  |  | 139375
|  | 2 Stop elevator |  | @ $38,328/stop |  | 2.75 | 76656.25 |  |  |  | 0 | 0 |  |  | 76656.25
|  | 2 Stop elevator |  | @ $38,328/stop |  | 2.75 | 76656.25 | 432062.5 | 15.5 |  | 0 | 0 | 0 | 0 | 76656.25 | 432062.5 | 12.3453 | 2.868%
DIV 21 | Fire Suppression
|  | New sprinkler |  |  |  | 4.5 | 125437.5 |  |  |  | 5 | 35615 |  |  | 161052.5
|  | New Stand pipes |  |  |  | 1 | 27875 |  |  |  | 0 | 0 |  |  | 27875
|  | New main for addition 150' |  |  |  | 0.5 | 13937.5 |  |  |  | 0 | 0 |  |  | 13937.5
|  | Rework Sprinkler line to Richards |  |  |  | 0.5 | 13937.5 |  |  |  | 0 | 0 |  |  | 13937.5
|  | Temp sprinkler coverage |  |  |  | 0 | 0 | 181187.5 | 6.5 |  | 0.5 | 3561.5 | 39176.5 | 5.5 | 3561.5 | 220364 | 6.2965 | 1.463%
DIV 22 | Plumbing
|  | Plumbing, OR, CSP $24.75/sf |  |  |  | 13.82 | 385232.5 |  |  |  | 12 | 85476 |  |  | 470708.5
|  | Plumbing level 3 and 4 $14.00/sf |  |  |  | 6.18 | 172267.5 |  |  |  | 0 | 0 |  |  | 172267.5
|  | Med gas no booms or columns |  |  |  | 12 | 334500 |  |  |  | 10 | 71230 |  |  | 405730
|  |  | Equipment air system |  | in above | 0 | 0 |  |  |  | 0 | 0 |  |  | 0
|  |  | Anesthetic gas disposal system |  | in above | 0 | 0 |  |  |  | 0 | 0 |  |  | 0
|  |  | Nitrogen and nitrous oxide system |  | in above | 0 | 0 |  |  |  | 0 | 0 |  |  | 0
|  |  | Carbon dioxide system |  | in above | 0 | 0 |  |  |  | 0 | 0 |  |  | 0
|  |  | Med gas testing |  |  | 0.6 | 16725 |  |  |  | 0 | 0 |  |  | 16725
|  | Reverse Osmosis |  |  |  | 2.25 | 62718.75 | 971443.75 | 34.85 |  | 0 | 0 | 156706 | 22 | 62718.75 | 1128149.75 | 32.2347 | 7.488%
DIV 23 | HVAC
|  | HVAC OR, CSP $71.06/sf |  |  |  | 39.69 | 1106358.75 |  |  |  | 55 | 391765 |  |  | 1498123.75
|  | HVAC level 3 and 4 $46.00/sf |  |  |  | 20.3 | 565862.5 |  |  |  | 0 | 0 |  |  | 565862.5
|  | New boilers 3ea 200 BHP Tube fired @ $400,000 ea |  |  |  | 43 | 1198625 |  |  |  | 0 | 0 |  |  | 1198625
|  | Temporary boiler |  |  |  | 2 | 55750 |  |  |  | 0 | 0 |  |  | 55750
|  | Add 300 gal surge tank to existing boiler feed |  |  |  | 0.35 | 9756.25 |  |  |  | 0 | 0 |  |  | 9756.25
|  | New 270 ton chiller |  |  |  | 10 | 278750 |  |  |  | 0 | 0 |  |  | 278750
|  | Clean existing fuel oil tanks |  |  |  | 1 | 27875 |  |  |  | 0 | 0 |  |  | 27875
|  | New steam lines to Richards |  |  |  | 1.75 | 48781.25 |  |  |  | 0 | 0 |  |  | 48781.25
|  | Test and balance |  |  |  | 1.4 | 39025 |  |  |  | 1.6 | 11396.8 |  |  | 50421.8
|  | Controls |  |  |  | 12 | 334500 | 3665283.75 | 131.49 |  | 12 | 85476 | 488637.8 | 68.6 | 419976 | 4153921.55 |  | 27.57%
DIV 26 | ELECTRICAL
|  | Electrical distribution OR, CSP $28/sf |  |  |  | 15.64 | 435965 |  |  |  | 12 | 85476 |  |  | 521441
|  | Electrical distribution level 3 and 4 $14/sf |  |  |  | 6.18 | 172267.5 |  |  |  |  | 0 |  |  | 172267.5
|  | Lighting |  |  |  | 10 | 278750 |  |  |  | 14 | 99722 |  |  | 378472
|  | Rework existing electrical distribution |  |  |  | 3.5 | 97562.5 |  |  |  | 0 | 0 |  |  | 97562.5
|  | Fire alarm |  |  |  | 2 | 55750 |  |  |  | 2 | 14246 |  |  | 69996
|  | Nurse call |  |  |  | 3 | 83625 |  |  |  | 3 | 21369 |  |  | 104994
|  | Master Clock system |  |  |  | 0.25 | 6968.75 |  |  |  | 1 | 7123 |  |  | 14091.75
|  | Paging systems |  |  |  | 0.25 | 6968.75 |  |  |  | 0.5 | 3561.5 |  |  | 10530.25
|  | Lightning protection |  |  |  | 0.65 | 18118.75 |  |  |  | 0 | 0 |  |  | 18118.75
|  | Telephone and data |  |  |  | 1 | 27875 | 1183851.25 | 42.47 |  | 2 | 14246 | 245743.5 | 34.5 | 42121 | 1429594.75 | 40.8479 | 9.489%
DIV 31 | Sitework
|  | Site demo clear/grub |  |  |  | 3 | 83625 |  |  |  | 0 | 0 |  |  | 83625
|  | Sitework associated with building |  |  |  | 12 | 334500 |  |  |  | 0 | 0 |  |  | 334500
|  | Additional storm water treatment due to new building |  |  |  | 3 | 83625 |  |  |  | 0 | 0 |  |  | 83625
|  | Landscape |  |  |  | 0.75 | 20906.25 |  |  |  | 0 | 0 |  |  | 20906.25
|  | Sitework to rework sidewalk area |  |  |  | 1 | 27875 | 550531.25 | 19.75 |  | 0 | 0 | 0 | 0 | 27875 | 550531.25 | 15.7304 | 3.654%
|  | SUB TOTALS |  |  |  | 435.21 | 12131478.75 | 12131478.75 | 435.21 |  | 257.25 | 1832391.75 | 1832391.75 | 257.25 | 13963870.5 | 13963870.5 | 280.3003 | 92.69%
DIV 17 CONSTRUCTION MANAGER
|  | CM Estimating Contingency |  |  | 5% | 21.7605 | 606573.9375 | 0 |  |  | 12.8625 | 91619.5875 |  |  | 698193.525
|  | CM Fee |  |  | 2.75% | 12.5667 | 350296.4489 | 956870.3864 | 34.3272 |  | 7.4281 | 52910.3118 | 144529.8993 | 20.2906 | 403206.7607 | 1101400.2857 | 31.4704 | 7.311%
|  | TOTALS |  |  |  | 469.5372 | 13088349.1364 | 13088349.1364 | 469.5372 |  | 277.5406 | 1976921.6493 | 1976921.6493 | 277.5406 | 15065270.7857 | 15065270.7857 | 311.7707 | 100%
Breakout cost of mechanical upgrade work
|  | New boilers 3ea 200 BHP Tube fired @ $400,000 ea |  |  |  |  | 1198625
|  | Temporary boiler |  |  |  |  | 55750
|  | Clean existing fuel oil tanks |  |  |  |  | 27875
|  | Add 300 gal surge tank to existing boiler feed |  |  |  |  | 9756.25
|  | New 270 ton chiller |  |  |  |  | 278750 | 1570756.25 | 56.35